## LabourLibraryDetails
Labour_SrNo | Labour_Name | Parent_SrNo | ItemType | Unit | LCat1 | LCat2 | LCat3 | LabourRate_Basic | Tax_Scheme_Id | Specification
1 | Labor Rate of Plumbing | 0 | Group |  | 5490_Plumbing Work |  |  | 0
2 | Rate of Internal Part | 1 | Group |  | 5490_Plumbing Work |  |  | 0
3 | ALL CPVC Pipes & Fitting's SDR-11 & SDR-13.5 | 2 | Group |  | 5490_Plumbing Work |  |  | 0
4 | ITC of SDR-11 & SDR-13.5 CPVC Pipe & Fitting 15mm Dia | 3 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 60
5 | ITC of SDR-11 & SDR-13.5 CPVC Pipe & Fitting 20mm dia | 3 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 70
6 | ITC of SDR-11 & SDR-13.5 CPVC Pipe & Fitting 25mm dia | 3 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 70
7 | ITC of SDR-11 & SDR-13.5 CPVC Pipe & Fitting 32mm Dia | 3 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 80
8 | All CPVC Pipes & Fitting's SCH-40 & SCH-80 | 2 | Group |  | 5490_Plumbing Work |  |  | 0
9 | ITC of SCH-40 & SCH-80 CPVC Pipe & Fitting 15mm Dia | 8 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 50
10 | ITC of SCH-40 & SCH-80 CPVC Pipe & Fitting 20mm dia | 8 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 60
11 | ITC of SCH-40 & SCH-80 CPVC Pipe & Fitting 25mm dia | 8 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 60
12 | ITC of SCH-40 & SCH-80 CPVC Pipe & Fitting 32mm Dia | 8 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 70
13 | Insulation | 2 | Group |  | 5490_Plumbing Work |  |  | 0
14 | ITC of Insulation 9mm Thick Nitrile Rubber 15mm dia | 13 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 8
15 | ITC of Insulation 9mm Thick Nitrile Rubber 20mm dia | 13 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 10
16 | ITC of Insulation 9mm Thick Nitrile Rubber 25mm dia | 13 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 12
17 | ITC of Insulation 9mm Thick Nitrile Rubber 32mm dia | 13 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 12
18 | ITC of insulation 6mm thick class "o" closed cell 20mm Dia | 13 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 8
19 | ITC of insulation 6mm thick class "o" closed cell 25mm Dia | 13 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 10
20 | ITC of insulation 6mm thick class "o" closed cell 32mm Dia | 13 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 10
21 | All Agri Pipes & Fitting's | 2 | Group |  | 5490_Plumbing Work |  |  | 0
22 | ITC of Agri PVC 6kg/cm 2 Pipe & Fitting 50mm Dia | 21 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 50
23 | ITC of Agri PVC 6kg/cm 2 pipes & Fitting 40mm Dia | 21 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 50
24 | All PVC & SWR & Silencio Pipe & Fitting's | 2 | Group |  | 5490_Plumbing Work |  |  | 0
25 | ITC of PVC, SWR, Silencio Pipe & Fitting 75mm Dia | 24 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 70
26 | ITC of PVC, SWR, Silencio pipes & Fitting 110mm Dia | 24 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 120
27 | Rate of Vertical Part | 1 | Group |  | 5490_Plumbing Work |  |  | 0
28 | ALL CPVC Pipes & Fitting's SDR-11 & SDR-13.5 | 27 | Group |  | 5490_Plumbing Work |  |  | 0
29 | ITC of SDR-11 & SDR-13.5 CPVC Pipe & Fitting 40mm Dia | 28 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 50
30 | ITC of SDR-11 & SDR-13.5 CPVC Pipe & Fitting 50mm dia | 28 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 60
31 | ITC of SDR-11 & SDR-13.5 CPVC Pipe & Fitting 65mm dia | 28 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 70
32 | ITC of SDR-11 & SDR-13.5 CPVC Pipe & Fitting 80mm Dia | 28 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 85
33 | ITC of SDR-11 & SDR-13.5 CPVC Pipe & Fitting 100mm Dia | 28 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 120
34 | ITC of SDR-11 & SDR-13.5 CPVC Pipe & Fitting 125mm Dia | 28 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 130
35 | ITC of SDR-11 & SDR-13.5 CPVC Pipe & Fitting 150mm Dia | 28 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 160
36 | All CPVC Pipes & Fitting's SCH-40 & SCH-80 | 27 | Group |  | 5490_Plumbing Work |  |  | 0
37 | ITC of SCH-40 & SCH-80 CPVC Pipe & Fitting 40mm Dia | 36 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 50
38 | ITC of SCH-40 & SCH-80 CPVC Pipe & Fitting 50mm dia | 36 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 60
39 | ITC of SCH-40 & SCH-80 CPVC Pipe & Fitting 65mm dia | 36 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 70
40 | ITC of SCH-40 & SCH-80 CPVC Pipe & Fitting 80mm Dia | 36 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 85
41 | ITC of SCH-40 & SCH-80 CPVC Pipe & Fitting 100mm Dia | 36 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 120
42 | ITC of SCH-40 & SCH-80 CPVC Pipe & Fitting 125mm Dia | 36 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 130
43 | ITC of SCH-40 & SCH-80 CPVC Pipe & Fitting 150mm Dia | 36 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 160
44 | Insulation | 27 | Group |  | 5490_Plumbing Work |  |  | 0
45 | ITC of Insulation 9mm Thick Nitrile Rubber 40mm dia | 44 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 15
46 | ITC of Insulation 9mm Thick Nitrile Rubber 50mm dia | 44 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 15
47 | ITC of Insulation 9mm Thick Nitrile Rubber 65mm dia | 44 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 18
48 | ITC of Insulation 9mm Thick Nitrile Rubber 80mm dia | 44 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 22
49 | ITC of insulation 6mm thick class "o" closed cell 40mm Dia | 44 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 12
50 | ITC of insulation 6mm thick class "o" closed cell 50mm Dia | 44 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 12
51 | ITC of insulation 6mm thick class "o" closed cell 65mm Dia | 44 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 15
52 | All PVC & SWR & Silencio Pipe & Fitting's | 27 | Group |  | 5490_Plumbing Work |  |  | 0
53 | ITC of PVC, SWR, Silencio Pipe & Fitting 75mm Dia | 52 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 70
54 | ITC of PVC, SWR, Silencio pipes & Fitting 90mm Dia | 52 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 90
55 | ITC of PVC, SWR, Silencio pipes & Fitting 110mm Dia | 52 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 100
56 | ITC of PVC, SWR, Silencio pipes & Fitting 160mm Dia | 52 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 120
57 | ITC of PVC, SWR, Silencio pipes & Fitting 200mm Dia | 52 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 180
58 | Trap's | 27 | Group |  | 5490_Plumbing Work |  |  | 0
59 | ITC of SWR P Trap 110mm Dia | 58 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 100
60 | ITC of SWR S Trap 110mm Dia | 58 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 100
61 | ITC of SWR F Trap 110mm Dia | 58 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 100
62 | ITC of PVC Multi Trap 110x75x50x40mm Dia | 58 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 100
63 | ITC of PVC Nahani traps 110x75mm Dia | 58 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 100
64 | Valve's | 27 | Group |  | 5490_Plumbing Work |  |  | 0
65 | ITC of Brass Ball Valve & Fitting 15mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 60
66 | ITC of Brass Ball Valve & Fitting 20mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 70
67 | ITC of Brass Ball Valve & Fitting 25mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 80
68 | ITC of Brass Ball Valve & Fitting 32mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 80
69 | ITC of Brass Ball Valve & Fitting 40mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 90
70 | ITC of Brass Ball Valve & Fitting 50mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 90
71 | ITC of Brass Ball Valve & Fitting 65mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 100
72 | ITC of Brass Ball Valve & Fitting 80mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 120
73 | ITC of Brass Ball Valve & Fitting 100mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 120
74 | ITC of Brass Ball Valve & Fitting 150mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 140
75 | ITC of PN-10 PRV 15mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 60
76 | ITC of PN-10 PRV 20mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 70
77 | ITC of PN-10 PRV 25mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 80
78 | ITC of PN-10 PRV 32mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 80
79 | ITC of PN-10 PRV 40mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 90
80 | ITC of PN-10 PRV 50mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 90
81 | ITC of PN-10 PRV 65mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 100
82 | ITC of PN-10 PRV 80mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 120
83 | ITC of PN-10 PRV 100mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 120
84 | ITC of PN-10 PRV 150mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 140
85 | ITC of Butterfly Valve PN-10, 50mm dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 110
86 | ITC of Butterfly Valve PN-10, 65mm dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 120
87 | ITC of Butterfly Valve PN-10, 80mm dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 130
88 | ITC of Butterfly Valve PN-10, 100mm dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 140
89 | ITC of Butterfly Valve PN-10, 150mm dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 150
90 | ITC of Brass air release valve 15mm dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 60
91 | ITC of Brass air release valve 25mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 80
92 | ITC of Brass air release valve 32mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 80
93 | ITC of Motorised valve with actuator 32mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 600
94 | ITC of Motorised valve with actuator 40mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 700
95 | ITC of Motorised valve with actuator 50mm Dia | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 800
96 | ITC of Water level float switch ( for over head tanks) | 64 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 150
97 | Khurra | 27 | Group |  | 5490_Plumbing Work |  |  | 0
98 | ITC of "Khurras" Rain Water Inlet 150mm Dia | 97 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 250
99 | ITC of "Khurras" Rain Water Inlet 80mm Dia | 97 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 200
100 | Electrical Part's | 27 | Group |  | 5490_Plumbing Work |  |  | 0
101 | ITC of 4c*10sqmm.armoured CU.XLPE=1.1KV | 100 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
102 | ITC of 4c*4sqmm.armoured CU.XLPE=1.1KV | 100 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
103 | ITC of 4c*10sqmm.armoured CU.XLPE CABLE | 100 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 0
104 | ITC of 4c*4sqmm.armoured CU.XLPE CABLE | 100 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 0
105 | ITC of CT 150*50mm*1.6mm thickness | 100 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
106 | ITC of CT 300*50mm*1.6mm thickness | 100 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
107 | ITC of EC 25*6mm GI strips | 100 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
108 | ITC of EC 8 SWG GI wire | 100 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
109 | Pump's | 27 | Group |  | 5490_Plumbing Work |  |  | 0
110 | ITC of Domestic Water Booster Pump system for all building | 109 | Labour | 7133_Set | 5490_Plumbing Work |  |  | 5500
111 | ITC of Domestic Pumps(PD=150 LPM, H=25m) | 109 | Labour | 7133_Set | 5490_Plumbing Work |  |  | 5000
112 | ITC of Domestic Pumps(PD=250 LPM, H=25m) | 109 | Labour | 7133_Set | 5490_Plumbing Work |  |  | 6000
113 | Mainhole Cover | 27 | Group |  | 5490_Plumbing Work |  |  | 0
114 | ITC of FRP manhole covers 600*600mm | 113 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 240
115 | uPVC Ball Valve | 27 | Group |  | 5490_Plumbing Work |  |  | 0
116 | ITC of UPVC Ball Valve P-10 15mm Dia | 115 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 40
117 | ITC of UPVC Ball Valve P-10 20mm Dia | 115 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 50
118 | ITC of UPVC Ball Valve P-10 25mm Dia | 115 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 50
119 | ITC of UPVC Ball Valve P-10 32mm Dia | 115 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 60
120 | ITC of UPVC Ball Valve P-10 40mm Dia | 115 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 65
121 | ITC of UPVC Ball Valve P-10 50mm Dia | 115 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 75
122 | ITC of UPVC Ball Valve P-10 65mm Dia | 115 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 80
123 | ITC of UPVC Ball Valve P-10 80mm Dia | 115 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 90
124 | CPVC Ball Valve | 27 | Group |  | 5490_Plumbing Work |  |  | 0
125 | ITC of CPVC Ball Valve P-10 15mm Dia | 124 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 40
126 | ITC of CPVC Ball Valve P-10 20mm Dia | 124 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 50
127 | ITC of CPVC Ball Valve P-10 25mm Dia | 124 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 50
128 | ITC of CPVC Ball Valve P-10 32mm Dia | 124 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 60
129 | ITC of CPVC Ball Valve P-10 40mm Dia | 124 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 65
130 | ITC of CPVC Ball Valve P-10 50mm Dia | 124 | Labour | 7114_Nos | 5490_Plumbing Work |  |  | 75
131 | GI Pipes & Fitting's | 27 | Group |  | 5490_Plumbing Work |  |  | 0
132 | ITC of GI pipes (CLASS-B & C), 25mm dia | 131 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
133 | ITC of GI pipes (CLASS-B & C), 32mm dia | 131 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
134 | ITC of GI pipes (CLASS-B & C), 40mm dia | 131 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
135 | ITC of GI pipes (CLASS-B & C), 50mm dia | 131 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
136 | ITC of GI pipes ( CLASS-B & C), 65mm dia | 131 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
137 | ITC of GI pipes ( CLASS-B & C), 80mm dia | 131 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
138 | ITC of GI pipes ( CLASS-B & C), 100mm dia | 131 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
139 | ITC of GI pipes ( CLASS-B & C), 150mm dia | 131 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0
140 | ITC of GI pipes ( CLASS-B & C), 200mm dia | 131 | Labour | 7111_MTR | 5490_Plumbing Work |  |  | 0

## MasterDetails
Unit_List | LCat1_List | LCat2_List | LCat3_List | TaxScheme_List | ItemType
7058_Bags | 5351_RCC Work | 5416_MS Pipe - Sprinkler |  | 648_Input GST 18% RD | Group
7059_Cum | 5414_Supply Installation and test |  |  | 661_Input GST 12% | Labour
7110_Sqft | 5415_Pipe Laying work |  |  | 670_Input IGST 0% RD
7111_MTR | 5417_SITC OF MS PIPE |  |  | 671_Input IGST 18%
7112_Pcs | 5433_SITC
7113_Sqrmtr | 5434_Infrastructure Development
7114_Nos | 5490_Plumbing Work
7115_Box | 5492_Plumbing Work Start
7116_Cbm | 5676_Fire Fighting Work
7117_Ft
7118_Ton
7119_Kgs
7120_Drum
7121_Pkt
7122_Ltr
7123_N.A
7124_Role
7125_Bundle
7126_CBM
7127_Coil
7128_Dozen
7129_Gms
7130_Pair
7131_RFT
7132_Rolls
7133_Set
7171_Man Day
7172_Job
7281_RM
7422_Nos
7423_Rm
7424_Rmt
7425_Set
7547_Each
7549_each
7550_M
7551_Metre
7552_Nos
7553_Nos.
7554_Set
7556_Each
7557_liter
7558_metre
7559_nos
7560_Rm
7561_NO
7562_NOS
7563_RM
7564_SET
7570_No.
7571_NOS.
7572_Rmt
7573_RMTR
7574_Set
7733_ML
7734_Amount
7735_Kg.
7736_Ltr.
7737_No.
7738_Nos.
7739_Rmt
7740_RMTR
7741_Set