## Sheet1
Sl No | Group | Material Name | UOM | Category | Rate | Tax
1 | Modular Box | CIRCULAR BOX 25MM (DEEP) | nos | Electrical (Concealed Work) | 60 | 18%
2 | Modular Box | 8 MODULE GI BOX | nos | Electrical (Concealed Work) | 85 | 18%
3 | Modular Box | 6 MODULE GI BOX | nos | Electrical (Concealed Work) | 70 | 18%
4 | Modular Box | 4 MODULE GI BOX | nos | Electrical (Concealed Work) | 49 | 18%
5 | Modular Box | 3 MODULE GI BOX | nos | Electrical (Concealed Work) | 41 | 18%
6 | Modular Box | 2 MODULE GI BOX | nos | Electrical (Concealed Work) | 35 | 18%
7 | Modular Box | 1 MODULE GI BOX | nos | Electrical (Concealed Work) | 34 | 18%
8 | Modular Box | FAN BOX (75MM DEEP) | NOS | Electrical (Concealed Work) | 70 | 18%
9 | Modular Box | CIRCULAR BOX (25MM DIA) | NOS | Electrical (Concealed Work) | 50 | 18%
10 | Modular Box | CIRCULAR BOX ( 75MM DEEP) | NOS | Electrical (Concealed Work) | 50 | 18%
11 | Modular Box | 3"NAILS | KGS | Electrical (Concealed Work) | 4 | 18%
12 | Modular Box | BINDING WIRE | KGS | Electrical (Concealed Work) | 125 | 18%
13 | Modular Box | BROWN TAPE | PICS | Electrical (Concealed Work) | 83 | 18%
14 | Modular Box | THARMOKAL (1MX1M) | PICS | Electrical (Concealed Work) | 55 | 18%
15 | Modular Box | 40A-TPN MCB | NOS | Electrical (Concealed Work) | 882 | 18%
16 | Modular Box | 40A-DP RCCB | NOS | Electrical (Concealed Work) | 1121 | 18%
17 | Modular Box | 10A- SP MCB | NOS | Electrical (Concealed Work) | 94 | 18%
18 | Modular Box | 20A-SP MCB | NOS | Electrical (Concealed Work) | 97 | 18%
19 | Modular Box | 32A RCCB | NOS | Electrical (Concealed Work) | 1121 | 18%
20 | Modular Box | 32A MCB | NOS | Electrical (Concealed Work) | 306 | 18%
21 | Modular Box | ELV JB (8"x8") | NOS | Electrical (Concealed Work) | 300 | 18%
22 | Modular Box | 12WAY TPN DB (Double Door) | NOS | Electrical (Concealed Work) | 3358 | 18%
23 | Modular Box | 12WAY VTPN DB (Double Door) | NOS | Electrical (Concealed Work) | 3558 | 18%
24 | Modular Box | 8 WAY TPN DB (Double Door) | NOS | Electrical (Concealed Work) | 2750 | 18%
25 | Modular Box | 6 WAY TPN DB (Double Door) | NOS | Electrical (Concealed Work) | 2450 | 18%
26 | Modular Box | 16WAY SPN DB | NOS | Electrical (Concealed Work) | 1196 | 18%
27 | Modular Box | 8 WAY TPN DB BOX | NOS | Electrical (Concealed Work) | 743 | 18%
28 | Modular Box | 6 WAYTPN DB BOX | NOS | Electrical (Concealed Work) | 678 | 18%
29 | Modular Box | 4 WAY MODULER BOX | NOS | Electrical (Concealed Work) | 300 | 18%
30 | Modular Box | 4 WAY MODULER PLATE | NOS | Electrical (Concealed Work) | 70 | 18%
31 | Modular Box | 6 WAY PVC MODULER BOX | NOS | Electrical (Concealed Work) | 90 | 18%
32 | Modular Box | 6 WAY MODULER PLATE | NOS | Electrical (Concealed Work) | 76 | 18%
33 | Modular Box | 6"X 6" TERMINAL BOX WITH COVER (JB) | NOS | Electrical (Concealed Work) | 360 | 18%
34 | SOCKET | 1M SOCKET | NOS | Electrical (Concealed Work) | 35 | 18%
35 | SOCKET | 2M SOCKET | NOS | Electrical (Concealed Work) | 37 | 18%
36 | SOCKET | 3M SOCKET | NOS | Electrical (Concealed Work) | 43 | 18%
37 | SOCKET | 4M SOCKET | NOS | Electrical (Concealed Work) | 52 | 18%
38 | SOCKET | 6M SOCKET | NOS | Electrical (Concealed Work) | 70 | 18%
39 | SOCKET | 8M SOCKET | NOS | Electrical (Concealed Work) | 91 | 18%
40 | SOCKET | TELEPHONE SOCKET | NOS | Electrical (Concealed Work) | 48 | 18%
41 | SWTICH & PLUG | C COVER | NOS | Electrical (Concealed Work) | 5 | 18%
42 | SWTICH & PLUG | RAGULATER | NOS | Electrical (Concealed Work) | 170 | 18%
43 | SWTICH & PLUG | D.B 6 | NOS | Electrical (Concealed Work) |  | 18%
44 | SWTICH & PLUG | D.B 8 | NOS | Electrical (Concealed Work) |  | 18%
45 | SWTICH & PLUG | BELL PUSH | NOS | Electrical (Concealed Work) | 58 | 18%
46 | SWTICH & PLUG | 6A SWTICH | NOS | Electrical (Concealed Work) | 25 | 18%
47 | SWTICH & PLUG | 16A SWTICH | NOS | Electrical (Concealed Work) | 56 | 18%
48 | SWTICH & PLUG | 6A PLUG | NOS | Electrical (Concealed Work) | 58 | 18%
49 | SWTICH & PLUG | 16A PLUG | NOS | Electrical (Concealed Work) | 86 | 18%
50 | SWTICH & PLUG | STATER | NOS | Electrical (Concealed Work) | 185 | 18%
51 | SWTICH & PLUG | BLANK | NOS | Electrical (Concealed Work) | 13 | 18%
52 | SWTICH & PLUG | 6A SOCKET | NOS | Electrical (Concealed Work) | 56 | 18%
53 | SWTICH & PLUG | 32A DP MCB | NOS | Electrical (Concealed Work) | 306 | 18%
54 | SWTICH & PLUG | 25A DP MCB | NOS | Electrical (Concealed Work) | 306 | 18%
55 | SWTICH & PLUG | 10A SP MCB | NOS | Electrical (Concealed Work) | 94 | 18%
56 | SWTICH & PLUG | 40A TPN MCB | NOS | Electrical (Concealed Work) | 883 | 18%
57 | SWTICH & PLUG | 40A DP MCB | NOS | Electrical (Concealed Work) | 483 | 18%
58 | CONDUIT PIPE | 20 OD PIPE | KG (MTR) | Electrical (Concealed Work) | 112 | 18%
59 | CONDUIT PIPE | 25 OD PIPE | KG (MTR) | Electrical (Concealed Work) | 112 | 18%
60 | CONDUIT PIPE | 32 OD PIPE | KG (MTR) | Electrical (Concealed Work) | 115 | 18%
61 | CONDUIT PIPE | 25MM RIGID PVC PIPE | MTR | Electrical (Concealed Work) | 27 | 18%
62 | CONDUIT PIPE | 20MM RIGID PVC PIPE | MTR | Electrical (Concealed Work) | 20 | 18%
63 | CONDUIT PIPE | 25MM PVC BEND | NOS | Electrical (Concealed Work) | 13 | 18%
64 | CONDUIT PIPE | 20MM PVC BEND | NOS | Electrical (Concealed Work) | 11 | 18%
65 | CONDUIT PIPE | 25MM RI PVC PIPE | MTR | Electrical (Concealed Work) | 27 | 18%
66 | CONDUIT PIPE | 25MM PVC TEE | NOS | Electrical (Concealed Work) | 14 | 18%
67 | SUPPORT & ACCESSORIES | 25MM BAR SHADDLE | NOS | Electrical (Concealed Work) | 18 | 18%
68 | SUPPORT & ACCESSORIES | 20MM BAR SHADDLE | NOS | Electrical (Concealed Work) | 15 | 18%
69 | SUPPORT & ACCESSORIES | 35/8 SCROW | NOS | Electrical (Concealed Work) | 8 | 18%
70 | SUPPORT & ACCESSORIES | EARTH BAR (12HOLE) | NOS | Electrical (Concealed Work) | 400 | 18%
71 | SUPPORT & ACCESSORIES | 8MM NUT & BOLT | NOS | Electrical (Concealed Work) | 14 | 18%
72 | SUPPORT & ACCESSORIES | 8MM FASHTNER | NOS | Electrical (Concealed Work) | 4 | 18%
73 | SUPPORT & ACCESSORIES | 25X6 SQM PATTI FOR SHAFT SUPPORT | MTR | Electrical (Concealed Work) | 86 | 18%
74 | SUPPORT & ACCESSORIES | 20X3 SQM PATTI FOR EARTHING | MTR | Electrical (Concealed Work) | 53 | 18%
75 | SUPPORT & ACCESSORIES | 8MM X 2MTR LONG THREADED ROD | MTR | Electrical (Concealed Work) | 47 | 18%
76 | SUPPORT & ACCESSORIES | 8MM FASHTNER,BOLT AND WASHER | NOS | Electrical (Concealed Work) | 15 | 18%
77 | SUPPORT & ACCESSORIES | 16MM RING ALUMINIUM LUGS (63X4) | NOS | Electrical (Concealed Work) | 18 | 18%
78 | SUPPORT & ACCESSORIES | 25MM MS CIRCULER | NOS | Electrical (Concealed Work) | 46 | 18%
79 | SUPPORT & ACCESSORIES | 200MM CABLE TIE | NOS | Electrical (Concealed Work) | 5.4 | 18%
80 | SUPPORT & ACCESSORIES | 300MM CABLE TIE | NOS | Electrical (Concealed Work) | 6.5 | 18%
81 | SUPPORT & ACCESSORIES | 25MM PVC BEND | NOS | Electrical (Concealed Work) | 13 | 18%
82 | SUPPORT & ACCESSORIES | 25MM BAR SHADDLE | NOS | Electrical (Concealed Work) | 6 | 18%
83 | SUPPORT & ACCESSORIES | 35X8 SCREW | NOS | Electrical (Concealed Work) | 5 | 18%
84 | SUPPORT & ACCESSORIES | PVC TAPE (20X5) | NOS | Electrical (Concealed Work) | 39 | 18%
85 | SUPPORT & ACCESSORIES | 25MM CUPLER | NOS | Electrical (Concealed Work) | 11 | 18%
86 | SUPPORT & ACCESSORIES | 16MM GLAN | NOS | Electrical (Concealed Work) | 18 | 18%
87 | SUPPORT & ACCESSORIES | TERMINAL CUPLER | NOS | Electrical (Concealed Work) | 35 | 18%
88 | SUPPORT & ACCESSORIES | 8MM NUT,BOLT AND WASHER | NOS | Electrical (Concealed Work) | 14 | 18%
89 | SUPPORT & ACCESSORIES | 15X50MM NUT ,BOLT AND WASHER | NOS | Electrical (Concealed Work) | 18 | 18%
90 | LUGS | 6MM PIN LUGS | NOS | Electrical (Concealed Work) | 9 | 18%
91 | LUGS | 4MM PIN LUG | NOS | Electrical (Concealed Work) | 7 | 18%
92 | LUGS | 1.5MM PIN LUG | NOS | Electrical (Concealed Work) | 4 | 18%
93 | LUGS | 10MM RING COPPER LUGS (63X4) | NOS | Electrical (Concealed Work) | 70 | 18%
94 | LUGS | 2.5MM RING COPPER LUGS (63X2) | NOS | Electrical (Concealed Work) | 66 | 18%
95 | LIGHT | BULK HEAD LIGHT | NOS | Electrical (Concealed Work) | 550 | 18%
96 | LIGHT | CEILING LIGHT | NOS | Electrical (Concealed Work) | 575 | 18%
97 | LIGHT | CEILING LIGHT (COB) | NOS | Electrical (Concealed Work) | 475 | 18%
98 | LIGHT | STREET LIGHT | NOS | Electrical (Concealed Work) | 830 | 18%
99 | WIRE | 6 SQMM WIRE (RED) 200MTR | MTR | Electrical (Concealed Work) | 57.91 | 18%
100 | WIRE | 6 SQMM WIRE (BLACK) | MTR | Electrical (Concealed Work) | 57.91 | 18%
101 | WIRE | 6 SQMM WIRE (YELLOW) | MTR | Electrical (Concealed Work) | 57.91 | 18%
102 | WIRE | 6 SQMM WIRE (BLUE) | MTR | Electrical (Concealed Work) | 57.91 | 18%
103 | WIRE | 4 SQMM WIRE (GREEN) | MTR | Electrical (Concealed Work) | 38.65 | 18%
104 | WIRE | 4 SQMM WIRE (RED) | MTR | Electrical (Concealed Work) | 38.65 | 18%
105 | WIRE | 4 SQMM WIRE (BLACK) | MTR | Electrical (Concealed Work) | 38.65 | 18%
106 | WIRE | 1.5 SQMM WIRE (GREEN) | MTR | Electrical (Concealed Work) | 15.67 | 18%
107 | WIRE | GI EARTHING WIRE (8 NO) | NOS | Electrical (Concealed Work) | 500 | 18%
108 | WIRE | 10 sqm WIRE (RED) | MTR | Electrical (Concealed Work) | 103 | 18%
109 | WIRE | 10 sqm WIRE (YELLOW) | MTR | Electrical (Concealed Work) | 103 | 18%
110 | WIRE | 10 sqm WIRE (BLUE) | MTR | Electrical (Concealed Work) | 103 | 18%
111 | WIRE | 10 sqm WIRE (BLACK) | MTR | Electrical (Concealed Work) | 103 | 18%
112 | WIRE | 2.5 sqm WIRE (GREEN) | MTR | Electrical (Concealed Work) | 25.05 | 18%
113 | WIRE | 16 sqm WIRE (ALUMINIUM ARMD) CABLE | MTR | Electrical (Concealed Work) | 210 | 18%
114 | WIRE | 2.5 sqm WIRE (RED) | MTR | Electrical (Concealed Work) | 25.05 | 18%
115 | WIRE | 2.5 sqm WIRE (BLACK) | MTR | Electrical (Concealed Work) | 25.05 | 18%
116 | WIRE | 1.5 sqm WIRE (GREEN) | MTR | Electrical (Concealed Work) | 16 | 18%
117 | WIRE | 32MM FLAXI CABLE | ROLL | Electrical (Concealed Work) | 351 | 18%
118 | WIRE | 10 sqm WIRE (BLUE) | MTR | Electrical (Concealed Work) | 103 | 18%
119 | WIRE | 10 sqm WIRE (BLACK) | MTR | Electrical (Concealed Work) | 103 | 18%