## MaterialLibraryDetails
Material_SrNo | Material_Name | Parent_SrNo | Item_type | Unit_Commercial | Unit_Technical | Conversion_Factor | Transport_Charges | MCat1_Id | MCat2_Id | MCat3_Id | Price_Basic | Tax_Scheme_Id | Specification
1 | FIRE FIGHTING | 0 | Group |  |  | 1 | 0 |  |  |  | 0
2 | FIRE EXTINGUISHER | 1 | Group |  |  | 1 | 0 |  |  |  | 0
3 | ELECTRICAL ACCESSORIES | 1 | Group |  |  | 1 | 0 |  |  |  | 0
4 | FIRE ALARM & PA | 1 | Group |  |  | 1 | 0 |  |  |  | 0
5 | HYDRANT FITTINGS | 1 | Group |  |  | 1 | 0 |  |  |  | 0
6 | PIPES & FITTINGS | 1 | Group |  |  | 1 | 0 |  |  |  | 0
7 | PUMPS | 1 | Group |  |  | 1 | 0 |  |  |  | 0
8 | SIGNAGE | 1 | Group |  |  | 1 | 0 |  |  |  | 0
9 | VALVES | 1 | Group |  |  | 1 | 0 |  |  |  | 0
10 | EXTINGUISHERS MODULAR ABC 5KG MS BODY | 2 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
11 | EXTINGUISHERS POTABLE ABC POWDER 6KG | 2 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (SAFETY FIRST/CLOSE FIRE/FIRE SHILD)
12 | EXTINGUISHERS POTABLE AFFF FOAM 9LTR CAPACITY | 2 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
13 | EXTINGUISHERS POTABLE CO2 4.5KG CARBON | 2 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
14 | 25MM GI STRIP | 3 | Material | 7430_KG | 7430_KG | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
15 | ELECTRICAL PANEL (3SET-15,75,75 HP 1400X1500X350MM) | 3 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | ( KBL/SHAKTI)
16 | 2C 1.5 SQM FRCU CABLE | 3 | Material | 7434_RMT | 7434_RMT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
17 | 3C 10SQM AR ALU CABLE | 3 | Material | 7434_RMT | 7434_RMT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (MESCAB/EQV )
18 | 3C 70SQM AR ALU CABLE | 3 | Material | 7434_RMT | 7434_RMT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
19 | CABLE TRAY -12"X2"X1.2MM TK | 3 | Material | 7434_RMT | 7434_RMT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
20 | 7AMPS ,12 VOLT BATTERY FOR ALARM PANEL | 4 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (EXIDE/CHIORIDE)
21 | CONVENTIONAL TYPE POWER SUPPLY UNIT | 4 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (SSFT/EQV)
22 | HEAT DETECTOR | 4 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (AGNI/CLOSE FIRE/EQV)
23 | MULTI CRITERIA DETECTOR WITH BASE | 4 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
24 | LMT MS SOUNDER /HOOTER | 4 | Material | 7441_PCS | 7441_PCS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
25 | MANUAL CALL POINT | 4 | Material | 7441_PCS | 7441_PCS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
26 | 2CORE X 1.5SQM FR COPPERFLAXIBLE CABLE | 4 | Material | 7434_RMT | 7434_RMT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (MESCAB)
27 | CONVENTIONAL TYPE FIRE ALARM PANEL …PA 32 ZONE..160 WATT | 4 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (AGNI/CLOSE FIRE/EQV)
28 | 3WAY FIRE BRIGADE INLET | 5 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (FIRE STONE/EQV.)
29 | 4WAY FIRE BRIGADE INLET | 5 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (FIRE STONE/EQV.)
30 | HOSE CABINET(750X600X250MS) | 5 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (VPPL)
31 | HOSE REEL 30MTR LONG WITH NOZZLE | 5 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (VPPL/DOZZ )
32 | HYDRANT VALVE | 5 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (FIRE STONE )
33 | PRESSURE SWITCH - 7KG | 5 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
34 | SS 304 BRANCH PIPE | 5 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0 |  | (FIRE STONE/EQV.)
35 | 15MTR HOSE PIPE | 5 | Material | 7441_PCS | 7441_PCS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
36 | PRESSURE GAUGE 16KG | 5 | Material | 7441_PCS | 7441_PCS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
37 | MS ANGLE | 6 | Material | 7430_KG | 7430_KG | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
38 | BLACK BITUMIN | 6 | Material | 7442_LITRE | 7442_LITRE | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
39 | 150MM MS BEND | 6 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
40 | 100 MM MS FLANGE 4HOLE | 6 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
41 | 100 MM MS FLANGE 8HOLE | 6 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
42 | 150 MM MS FLANGE 8HOLE | 6 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
43 | 200 MM MS BEND | 6 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
44 | 200MM MS TEE | 6 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
45 | 25 MM MS BEND | 6 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
46 | 50 MM MS BEND | 6 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
47 | 50MM MS FLANGE 8HOLE | 6 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
48 | 80 MM MS BEND | 6 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
49 | 80MM MS FLANGE 4HOLE | 6 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
50 | WELDING ROD | 6 | Material | 7436_PKT | 7436_PKT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
51 | 100 MM MS PIPE (MEDIUM) | 6 | Material | 7434_RMT | 7434_RMT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
52 | 150 MM MS PIPE (MEDIUM) | 6 | Material | 7434_RMT | 7434_RMT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
53 | 200 MM MS PIPE (MEDIUM) | 6 | Material | 7434_RMT | 7434_RMT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
54 | 25 MM MS PIPE (MEDIUM) | 6 | Material | 7434_RMT | 7434_RMT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
55 | 50 MM MS PIPE (MEDIUM) | 6 | Material | 7434_RMT | 7434_RMT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
56 | 65 MM MS PIPE (MEDIUM) | 6 | Material | 7434_RMT | 7434_RMT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
57 | 80 MM MS PIPE (MEDIUM) | 6 | Material | 7434_RMT | 7434_RMT | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
58 | FITTINGS | 7 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
59 | 180 LPM JOKEY PUMP , 88MH,15HP/11KW…BR IMPELLER 2900RPM (KBS/ABB) | 7 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
60 | 2280LPM MAIN PUMP..75HP/55KW …BR IMPELLER ..2900RPM (KBS/ABB) | 7 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
61 | 900 LPM BOOSTER PUMP..12.47HP/9.3KW..2900 RPM (KBS/ABB) | 7 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
62 | SELF GLOW RIGID EVACUATION SIGNAGE (MENTION FLOOR NO.. SIZE-4"X12"X24NOS) | 8 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
63 | SIGNAGE ( FIRE EXIT ..SIZE-18"X12"X24NOS) | 8 | Material | 7441_PCS | 7441_PCS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
64 | SIGNAGE ( FLOOR PLAN ..SIZE-18"X12"X24NOS) | 8 | Material | 7441_PCS | 7441_PCS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
65 | SIGNAGE ( IN CASE OF FIRE . SIZE-8"X8"X24NOS) | 8 | Material | 7441_PCS | 7441_PCS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
66 | 100MM BUTTERFLY VALVE (PN-16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
67 | 100MM GATE VALVE (PN-16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
68 | 100MM NRV (PN - 16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
69 | 150 MM Y TYPE STAINER (PN - 16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
70 | 150MM BUTTERFLY VALVE (PN-16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
71 | 150MM GATE VALVE (PN-16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
72 | 150MM NRV (PN - 16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
73 | 15MM BALL VALVE (PN-10) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
74 | 25 MM BALL VALVE (PN-16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
75 | 25MM AIR RELEASE VALVE | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
76 | 25MM NRV (PN - 16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
77 | 50 MM NRV (PN - 16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
78 | 50MM BUTTERFLY VALVE (PN-16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
79 | 50MM GATE VALVE (PN-16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
80 | 80MM BUTTERFLY VALVE (PN-16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0
81 | 80MM GATE VALVE (PN-16) | 9 | Material | 7437_NOS | 7437_NOS | 1 | 0 | 15834_Fire Fighting and PA System |  |  | 0

## MasterDetails
Unit_List | MCat1_List | MCat2_List | MCat3_List | TaxScheme_List | Item Type
7426_BAG (50 KG) | 15677_TMT STEEL BAR | 15160_TREES |  | 650_GST18 CGST/SGST | Group
7427_BAG (40 KG) | 15678_CONCRETE |  |  | 652_Non GST | Material
7428_CFT | 15679_CEMENT |  |  | 675_Non GST
7429_CUM | 15680_BRICK / BLOCK |  |  | 676_GST 5% (CGST+SGST)
7430_KG | 15688_TILE/MARBLE/GRANITE/B. STONE |  |  | 677_GST 12% (CGST+SGST)
7431_M. TONNE | 15689_PAVER BLOCK / GRANITE / TILE |  |  | 678_GST 18% (CGST+SGST)
7432_SFT | 15693_ADHESIVE |  |  | 679_GST 28% (CGST+SGST)
7433_SQM | 15704_MISC. MATERIALS |  |  | 680_GST 5% (IGST)
7434_RMT | 15716_Electrical (Wire and Cables) |  |  | 681_GST 12% (IGST)
7435_RFT | 15717_Electrical (Lights & Fixtures) |  |  | 682_GST 18% (IGST)
7436_PKT | 15829_Plumbing Fittings |  |  | 683_GST 28% (IGST)
7437_NOS | 15834_Fire Fighting and PA System
7438_BAG (30 KG)
7439_BAG (20 KG)
7440_BAG (25 KG)
7441_PCS
7442_LITRE
7443_JOB
7531_BOX (2 PCS/15.5 SFT)
7532_BOX (4 PCS/15.5 SFT)
7533_PACKAGE (8 LT/4+4 LT)
7536_BOX (5 PCS/9.68 SFT)
7537_BOX (6 PCS/11.62 SFT)
7538_BOX (9 PCS/8.72 SFT)
7548_JAR (1 LT)
7704_MTR
7705_ROLL
7706_MANDAY