## MaterialLibraryDetails
Material_SrNo | Material_Name | Parent_SrNo | Item_type | Unit_Commercial | Unit_Technical | Conversion_Factor | Transport_Charges | MCat1_Id | MCat2_Id | MCat3_Id | Price_Basic | Tax_Scheme_Id | Specification
1 | Plumbing | 0 | Group |  |  | 1 | 0 |  |  |  | 0
2 | SCREW 3" FOR PVC PIPE CLAMP (SWR) | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  | 3 | 589_INPUT GST 18%(CGST+SGST)
3 | PVC PLAIN 90 DIG BEND 160 MMM (SWR) | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  | 328 | 589_INPUT GST 18%(CGST+SGST)
4 | UPVC PIPE 1" (25 MM) | 1 | Material | 7262_RMT | 7262_RMT | 1 | 0 | 14885_PLUMBING |  |  | 63.3333 | 589_INPUT GST 18%(CGST+SGST)
5 | UPVC R/TEE 1" X 3/4" (25 MM X 20MM) | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  | 30 | 589_INPUT GST 18%(CGST+SGST)
6 | UPVC END CAP 1" (25 MM) | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  | 15 | 589_INPUT GST 18%(CGST+SGST)
7 | PVC BIB COCK | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  | 100 | 589_INPUT GST 18%(CGST+SGST)
8 | CISTERN - (33926IN-P-O KOHLER EVOFLUSH FRAMLESS PNEU IN WALL TANK) | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  | 4277 | 589_INPUT GST 18%(CGST+SGST)
9 | COMMODE - VIVE WALL HUNG BOWL | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  |  | 589_INPUT GST 18%(CGST+SGST)
10 | COMMODE - WITH SEAT COVER - VIVE QUIET CLOSE TOILET SEAT | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  |  | 589_INPUT GST 18%(CGST+SGST)
11 | COMMODE - APT TM ROUND WALL-HUNG BOWL W/O SEAT | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  |  | 589_INPUT GST 18%(CGST+SGST)
12 | COMMODE - WITH SEAT COVER - APT ROUND PP SEAT WHITE | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  |  | 589_INPUT GST 18%(CGST+SGST)
13 | WASH BASIN - CHALICE ROUND VESSEL 1TAP HOLE | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  |  | 589_INPUT GST 18%(CGST+SGST)
14 | URINAL BLACK | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  | 14637.71 | 589_INPUT GST 18%(CGST+SGST)
15 | URNIAL SENSOR | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  | 13973.9 | 589_INPUT GST 18%(CGST+SGST)
16 | ADAPTOR OUTPUT 6V (AC ADAPTOR OUT PUT 6V) | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  | 747.46 | 589_INPUT GST 18%(CGST+SGST)
17 | URINAL WHITE | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  |  | 589_INPUT GST 18%(CGST+SGST)
18 | SOFTPRESS VALVE | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  |  | 589_INPUT GST 18%(CGST+SGST)
19 | URINAL FLUSH VALVE | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  | 1857 | 589_INPUT GST 18%(CGST+SGST)
20 | URINAL - 340X325X650 MM - WHITE | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  | 7831 | 589_INPUT GST 18%(CGST+SGST)
21 | COMMODE - WITH SEAT COVER - TOILET SEAT | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  |  | 589_INPUT GST 18%(CGST+SGST)
22 | WASH BASIN - TABLE TOP BASIN | 1 | Material | 7254_NOS | 7254_NOS | 1 | 0 | 14885_PLUMBING |  |  |  | 589_INPUT GST 18%(CGST+SGST)
23
UPVC SOLVENT CEMENT 237 ML
PVC WATER TANK 1000 LTR
ELECTRIC WATER PUMP 3/4 HP, (MAKE - CROMPTON, SERIAL NO - LPEC1YL029184 MODEL - MINI CREST 1, SPECIFICATION 0.75/100KW/HP, 220V AC, 50HZ)
ANGULER STOP COCK (11568IN-7B-CP KOHLER COMPLEMENTARY ANGLE VALVE)
BASIN WASTE COUPLING (32485IN-NA KOHLER VIVA HIDDEN DRAIN)
TOILER ROLL HOLDER (5633IN-CP KOHLER TOILER ROLL HOLDER)

## MasterDetails
Unit_List | MCat1_List | MCat2_List | MCat3_List | TaxScheme_List | Item Type
7247_CFT | 14494_CEMENT & BINDERS | 14501_CIVIL MATERIALS |  | 588_INPUT GST 28%(CGST+SGST) | Group
7248_BAG | 14495_STEEL | 14502_ELECTRICAL |  | 589_INPUT GST 18%(CGST+SGST) | Material
7249_BAGS | 14496_SAND | 15266_FINE AGGREGATES |  | 667_INPUT GST 5%(CGST+SGST)
7250_50KG BAG | 14497_AGGREGATE | 15267_COARSE AGGREGATES |  | 668_INPUT GST NIL(CGST+SGST)
7251_25KG BAG | 14498_CONCRETE | 15268_CEMENT |  | 669_INPUT GST 12%(CGST+SGST)
7252_CUM | 14499_WIRES AND CABLES | 15269_READY-MIX CONCRETE |  | 672_INPUT GST(IGST 5%)
7253_PCS | 14500_LIGHTS AND FIXTURES | 15270_EPOXY GROUT |  | 673_INPUT GST(IGST 18%)
7254_NOS | 14504_Blocks | 15271_WATERPROOFING & SEALANTS
7255_COIL | 14505_Bricks | 15272_ADMIXTURES
7256_MTR | 14882_ADHESIVE | 15273_PAVING BLOCKS
7257_KGS | 14884_GRILL AND RAILING | 15274_GLASS, FABRICS & GLAZING
7258_SQFT | 14885_PLUMBING | 15276_CABLES & WIRES
7259_BOX | 14886_DOOR | 15277_LIGHTING
7260_SQM | 14890_FURNITURE & FIXTURES | 15278_WIRING ACCESSORIES
7261_MT | 14891_MARBLE | 15279_OTHER ELECTRICAL
7262_RMT | 14892_PAINT | 15280_SWITCHGEAR & PROTECTION
7263_SET | 14893_SAFETY & TRAFFIC CONTROL | 15281_NETWORK PATCH PANEL COMPONENTS
7264_ROLL | 14894_TILES | 15282_SERVER RACKS & ENCLOSURES
7265_SETS | 14895_GRANITE | 15283_INTERCOM & VIDEO DOOR PHONES
7266_PAIR | 14896_STONE | 15284_ELECTRICAL BOXES & ENCLOSURES
7267_LTR | 14897_ROADWAY | 15285_NETWORK OUTLETS & FACEPLATES
7268_KG | 14898_NURSERY | 15286_NETWORKING CABLES
7269_LS | 14899_PPC | 15287_NETWORKING CONNECTORS
7270_PER USER | 14900_Plywood | 15290_STONE FLOORING & SLABS
7271_TANKER | 14901_WOOD, PLASTICS & COMPOSITES | 15291_GYPSUM & CEILINGS
7272_BOTTLE | 15241_AGGREGATES | 15292_FLOORING & TILES
7273_PKT | 15242_CONSTRUCTION CHEMICALS | 15293_PAINTS & COATINGS
| 15243_CONSTRUCTION FINISHES | 15294_SPLIT AC
| 15244_CONSTRUCTION MATERIALS | 15295_TRAFFIC CALMING EQUIPMENT
| 15245_ELECTRICAL | 15296_TELECOMMUNICATION DEVICES
| 15246_ELECTRICAL / COMMUNICATIONS | 15297_SOFTWARE
| 15247_ELECTRICAL / GENERAL SUPPLIES | 15298_COMPUTER ACCESSORIES
| 15248_ELECTRONIC SAFETY & SECURITY | 15299_COMPUTER HARDWARE
| 15249_STONE, TILES & MARBLE FINISH | 15300_STORAGE DEVICES
| 15250_HVAC | 15301_COMPUTER PERIPHERALS
| 15251_INFRASTRUCTURE HARDWARE | 15302_POWER BACKUP
| 15253_STATIONERY | 15303_POWER ADAPTERS & SUPPLIES
| 15256_LANDSCAPE | 15304_AV DEVICES
| 15257_MARKETING & COMMUNICATION | 15305_CLEANING SUPPLIES
| 15258_BRICKS & BLOCKS | 15306_AIR FRESHENERS
| 15259_METALS | 15307_CLEANING TOOLS
| 15260_OFFICE SUPPLIES | 15308_CCTV SYSTEMS
| 15261_OPENINGS | 15309_FLOOR CARE & SCRUBBING
| 15262_SANITARYWARE | 15310_CLEANING CHEMICALS
| 15263_SERVICES | 15311_DISINFECTANTS
| 15264_THERMAL & MOISTURE PROTECTION | 15312_CLEANING POWDER
| 15265_SITE UTILITIES | 15313_ARTIFICIAL TURF
| 15336_DOORS, WINDOWS & HARDWARE | 15314_ADVERTISING SERVICES
| 15337_SAFETY, SECURITY & IT INFRA | 15315_FLY ASH BRICKS
| 15661_LAND COST | 15316_STRUCTURAL STEEL & MS
| 15844_WATERPROOFING | 15317_STATIONERY
| 15903_Miscellaneous | 15318_PRINTING & WRITING SUPPLIES
15319_PRINTER TONER CARTRIDGES
15320_DOOR HARDWARE
15321_DOORS & FRAMES
15322_DOORS & HARDWARE
15323_TANKS & CISTERNS
15324_PIPES & FITTINGS
15325_CP FITTINGS
15326_DRAINAGE FITTINGS
15327_ROAD SAFETY FIXTURES
15328_WC & BASINS
15329_OTHER SANITARYWARE
15330_LOGISTICS
15331_PROFESSIONAL SERVICES
15332_COMMS & INTERNET SERVICES
15334_WATER SUPPLY
15335_PANEL BOARDS & LAMINATES
15338_EARTHING
15339_COMMUNICATION CABLES
15340_TELEPHONE OUTLETS
15341_NETWORK SWITCHES
15342_TABLE TOPS
15343_FANS & VENTILATION
15351_OFFICE FURNITURE
15354_FIXTURES
15355_SANITARY FIXTURES
15356_WATER HEATERS
15357_WELLNESS SYSTEMS
15666_MICRO CONCRETE
15667_LIGHT - LED
15668_LIGHT - CFL
15843_RED BRICKS